## Sheet0
id | collection | dc.contributor.author | dc.date.accessioned | dc.date.available | dc.date.issued | dc.description.abstract[en] | dc.identifier.uri | dc.language | dc.rights.uri | dc.subject.ddc | dc.subject[en] | dc.title | dc.type | dcterms.accessRights.openaire | dcterms.bibliographicCitation.articlenumber | dcterms.bibliographicCitation.doi | dcterms.bibliographicCitation.journaltitle | dcterms.bibliographicCitation.number | dcterms.bibliographicCitation.originalpublishername | dcterms.bibliographicCitation.pmid | dcterms.bibliographicCitation.volume | dcterms.isPartOf.eissn | refubium.affiliation | refubium.resourceType.isindependentpub
ef047ca6-2b88-4d5b-bfcd-28c026beb178 | fub188/15 | Graef, Jessica¦¦Leidel, Bernd A.¦¦Bressem, Keno K.¦¦Vahldiek, Janis L.¦¦Hamm, Bernd¦¦Niehues, Stefan M. | 2022-03-21T10:58:41Z | 2022-03-21T10:58:41Z | 2021 | Computed tomography (CT) represents the current standard for imaging of patients with acute life-threatening diseases. As some patients present with circulatory arrest, they require cardiopulmonary resuscitation. Automated chest compression devices are used to continue resuscitation during CT examinations, but tend to cause motion artifacts degrading diagnostic evaluation of the chest. The aim was to investigate and evaluate a CT protocol for motion-free imaging of thoracic structures during ongoing mechanical resuscitation. The standard CT trauma protocol and a CT protocol with ECG triggering using a simulated ECG were applied in an experimental setup to examine a compressible thorax phantom during resuscitation with two different compression devices. Twenty-eight phantom examinations were performed, 14 with AutoPulse and 14 with corpuls cpr. With each device, seven CT examinations were carried out with ECG triggering and seven without. Image quality improved significantly applying the ECG-triggered protocol (p < 0.001), which allowed almost artifact-free chest evaluation. With the investigated protocol, radiation exposure was 5.09% higher (15.51 mSv vs. 14.76 mSv), and average reconstruction time of CT scans increased from 45 to 76 s. Image acquisition using the proposed CT protocol prevents thoracic motion artifacts and facilitates diagnosis of acute life-threatening conditions during continuous automated chest compression. | https://refubium.fu-berlin.de/handle/fub188/34451¦¦http://dx.doi.org/10.17169/refubium-34169 | eng | https://creativecommons.org/licenses/by/4.0/ | 600 Technik, Medizin, angewandte Wissenschaften::610 Medizin und Gesundheit::610 Medizin und Gesundheit | computed tomography¦¦cardiopulmonary resuscitation¦¦image quality¦¦emergency medicine¦¦automated chest compression | Computed Tomography Imaging in Simulated Ongoing Cardiopulmonary Resuscitation: No Need to Switch Off the Chest Compression Device during Image Acquisition | Wissenschaftlicher Artikel | open access | 1122 | 10.3390/diagnostics11061122 | Diagnostics | 6 | MDPI AG | 34205468 | 11 | 2075-4418 | Charité - Universitätsmedizin Berlin | no