## Sheet0
id | collection | dc.contributor.author | dc.date.accessioned | dc.date.available | dc.date.issued | dc.description.abstract[en] | dc.identifier.uri | dc.language | dc.rights.uri | dc.subject.ddc | dc.subject[en] | dc.title | dc.type | dcterms.accessRights.openaire | dcterms.bibliographicCitation.articlenumber | dcterms.bibliographicCitation.doi | dcterms.bibliographicCitation.journaltitle | dcterms.bibliographicCitation.number | dcterms.bibliographicCitation.originalpublishername | dcterms.bibliographicCitation.pmid | dcterms.bibliographicCitation.volume | dcterms.isPartOf.eissn | refubium.affiliation | refubium.funding | refubium.resourceType.isindependentpub
172aeee0-d0f1-4b88-bb15-3d9dfc9cff49 | fub188/15 | Melzow, Florentina¦¦Mertens, Sarah¦¦Todorov, Hristo¦¦Groneberg, David A.¦¦Paris, Sebastian¦¦Gerber, Alexander | 2023-11-30T16:45:03Z | 2023-11-30T16:45:03Z | 2022 | Background: Due to exposure to potentially infectious aerosols during treatments, the dental personnel is considered being at high risk for aerosol transmitted diseases like COVID-19. The aim of this study was to evaluate aerosol exposure during different dental treatments as well as the efficacy of dental suction to reduce aerosol spreading. Methods: Dental powder-jet (PJ; Air-Flow (R)), a water-cooled dental handpiece with a diamond bur (HP) and water-cooled ultrasonic scaling (US) were used in a simulation head, mounted on a dental unit in various treatment settings. The influence of the use of a small saliva ejector (SE) and high-volume suction (HVS) was evaluated. As a proxy of aerosols, air-born particles (PM10) were detected using a Laser Spectrometer in 30 cm distance from the mouth. As control, background particle counts (BC) were measured before and after experiments. Results: With only SE, integrated aerosol levels [median (Q25/Q75) mu g/m(3) s] for PJ [91,246 (58,213/118,386) mu g/m(3) s, p < 0.001, ANOVA] were significantly increased compared to BC [7243 (6501/8407) mu g/m(3) s], whilst HP [11,119 (7190/17,234) mu g/m(3) s, p > 0.05] and US [6558 (6002/7066) mu g/m(3) s; p > 0.05] did not increase aerosol levels significantly. The use of HVS significantly decreased aerosol exposure for PJ [37,170 (29,634/51,719) mu g/m(3) s; p < 0.01] and HP [5476 (5066/5638) mu g/m(3) s; p < 0.001] compared to SE only, even reaching lower particle counts than BC levels for HP usage (p < 0.001). Conclusions: To reduce the exposure to potentially infectious aerosols, HVS should be used during aerosol-forming dental treatments. | https://refubium.fu-berlin.de/handle/fub188/41675¦¦http://dx.doi.org/10.17169/refubium-41395 | eng | https://creativecommons.org/licenses/by/4.0/ | 600 Technik, Medizin, angewandte Wissenschaften::610 Medizin und Gesundheit::610 Medizin und Gesundheit | Aerosols¦¦Oral medicine¦¦Dental staff¦¦Dental suction¦¦COVID-19¦¦SARS-CoV-2 | Aerosol exposure of staff during dental treatments: a model study | Wissenschaftlicher Artikel | open access | 128 | 10.1186/s12903-022-02155-9 | BMC Oral Health | 1 | Springer Nature | 35428223 | 22 | 1472-6831 | Charité - Universitätsmedizin Berlin | Springer Nature DEAL | no